FCU TEST & BALANCE REPORT

| PROJECT: | ODA Primary Health Care |  | DATE: |  |
| --- | --- | --- | --- | --- |
| ADDRESS: | 251 Wallabout St, Brooklyn, NY |  | READINGS BY: | P.S. |
| PREPARED FOR: | Active Cooling |  | EQUIP. LOCATION: |  |

| UNIT DATA |  |  |  |  |  |  |  |  | MOTOR DATA |  |  |  | DESIGN |  |  | ACTUAL |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| UNIT # |  |  |  |  |  |  |  |  | MANUFACTURER |  |  |  | WOLONG |  |  |  |  |
| UNIT TAG |  |  |  |  |  |  |  |  | MODEL NUMBER |  |  |  | - |  |  |  |  |
| AREA SERVED |  |  |  |  |  |  |  |  | HP/BHP |  |  |  | / - |  |  | / - |  |
| UNIT TYPE |  |  |  |  |  |  |  |  | PH/HZ/VOLT |  |  |  | 1/60/208 |  |  | 1/60/207 |  |
| MANUFACTURER |  |  |  |  |  |  |  |  | AMPS |  |  |  |  |  |  |  |  |
| MODEL NUMBER |  |  |  |  |  |  |  |  | MOTOR RPM |  |  |  | - |  |  | - |  |
| SERIAL NUMBER |  |  |  |  |  |  |  |  | FAN SPEED SET |  |  |  |  |  |  |  |  |
| PERFORMANCE DATA |  |  |  | DESIGN |  | ACTUAL |  |  | STATIC PRESSURE |  |  |  | DESIGN |  |  | ACTUAL |  |
| TOTAL SUPPLY CFM |  |  |  |  |  |  |  |  | RETURN SP |  |  |  | - |  |  |  |  |
| TOTAL RETURN CFM |  |  |  |  |  |  |  |  | SUPPLY SP |  |  |  | - |  |  |  |  |
| TOTAL OA CFM |  |  |  |  |  |  |  |  | TOTAL EXTERNAL SP |  |  |  |  |  |  |  |  |
| UNIT AIR OUTLETS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | OUTLET |  |  |  |  |  | DESIGN CFM |  |  | PRELIMINARY |  |  |  | FINAL |  |  |  |
| DWG # | # | TYPE | SIZE |  | K-factor |  |  |  |  | VEL | CFM | % |  | VEL | CFM |  | % |
|  | 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | LSD | 24x6 |  | 1.02 |  |  |  |  | - | - | - |  | - |  |  |  |
|  |  | LSD | 24x6 |  | 1.02 |  |  |  |  | - | - | - |  | - |  |  |  |
|  |  | LSD | 24x6 |  | 1.02 |  |  |  |  | - | - | - |  | - |  |  |  |
|  |  | LSD | 24x6 |  | 1.02 |  |  |  |  | - | - | - |  | - |  |  |  |
|  |  | LSD | 24x6 |  | 1.02 |  |  |  |  |  |  |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  |  | CFM |  |  | VEL | CFM | % |  | VEL | CFM |  | % |
|  |  |  |  |  |  |  |  |  |  | - | - | - |  | - |  |  |  |
|  | 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 23 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 24 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 25 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 26 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 27 |  |  |  |  |  | 110 |  |  |  |  |  |  |  | 102 |  |  |
|  | 28 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 29 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 30 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 31 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 32 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 33 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 34 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 35 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 36 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 37 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 38 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 39 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 40 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 41 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 42 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 43 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 44 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 45 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 46 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 47 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 48 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 49 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 50 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 51 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| REMARKS: |  |
| --- | --- |